**OPTIONAL QUESTIONNAIRE**

**Water System may choose to send this questionnaire to homeowners of potential sites.**

# **Lead and Copper Rule HomeOwner questionnaire**

|  |  |  |
| --- | --- | --- |
| **Homeowner Name:** | **Address:** | **PWS ID:** |

To assist the Public Water System in the Lead and Copper Rule (LCR) Site Plan validation process, this homeowner questionnaire has been developed. The questions included are designed to help make a reasonable determination as to what Tier designation a given connection may be classified as defined in the LCR.

|  |  |  |
| --- | --- | --- |
| 1. Would the connection be classified as single family structure? | * Yes | * No |
| 1. Was the building at this connection constructed after 1982 but before 1987? | * Yes | * No |
| 1. Does the connection contain copper pipes with lead solder? | * Yes | * No |
| 1. Does the connection have a lead service line from the meter to the home? | * Yes | * No |
| 1. Has the plumbing been replaced at this location since the initial construction? | * Yes | * No |
| 1. Has a lead swab test been performed at the connection? | * Yes | * No |
| Results: | | |

Sample Site Plan Tier Designation

|  |  |  |
| --- | --- | --- |
| * Tier 1 | * Tier 2 | * Tier 3 |

Does the designation of this site warrant addition to the current LCR site plan for the Public Water System?

|  |  |  |
| --- | --- | --- |
| * Yes | * No | If site should be added, you MUST denote the new site on the Sampling Site Plan |

|  |  |  |
| --- | --- | --- |
| **Completed By:** (Print Name) | **Signature:** | **Date:** |
| **Phone:** | **Email:** | **System Affiliation: (√ check box)**  Responsible Official  Certified Operator |

**OPTIONAL LETTER**

**Water System may choose to send this to homeowners of potential sites.**

***The public water system may choose to use the following template during the validation of the Lead and Copper site plan. Print on Public Water System Letterhead and have the operator, legally responsible official, or both individuals sign the letter.***

*Dear customer/homeowner:*

*The \_\_\_\_\_\_\_\_\_\_\_\_\_\_ public water system is seeking customers to participate in the Safe Drinking Water Act Lead and Copper Rule monitoring requirements. The purpose of this program is to take a sample of drinking water from your home and have it analyzed by the Mississippi State Department of Health for lead and copper content.*

*Your home has been chosen as a potential sampling site for this purpose. We believe your home could meet the requirements set forth by the Environmental Protection Agency, but to verify this we would like to speak with you further in person or over the phone to discuss your home’s specific internal plumbing. If information gathered indicates that your home would be an ideal location for sample collection, we may ask that you perform a simple lead verification test on your plumbing with materials provided by us. If you are unable to perform the test yourself, we are available to assist. The test itself only takes a few minutes to perform.*

*After our discussion and if we have verification that your home meets the Lead and Copper Rule sampling site criteria, please consider allowing us to use your home as a sampling site. If you agree to have your home listed as a potential site in this sampling program, please contact us at \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ by \_\_\_\_\_\_\_\_[Date].*

*We appreciate your assistance as we take steps to comply with the Lead and Copper Rule.*

*Sincerely,*

*John Doe, Certified Water Operator*

*Sam Doe, Board President*